## Data
Measurement uncertainty using the Nordtest approach
Acrylamide determination in crisp bread
Analysis of certified reference materials
Crisp bread |  |  | Potato chips
C_ref = | 1179 | μg/kg | C_ref = | 860 | μg/kg
U (k=2) = | 68 | μg/kg | U (k=2) = | 42 | μg/kg
Days | C (µg/kg) |  | Days | C (µg/kg)
2008-01-05 | 1172 |  | 2008-04-03 | 845
2008-03-06 | 1186 |  | 2008-04-03 | 832
2008-04-03 | 1153 |  | 2008-04-03 | 802
2009-01-08 | 1151 |  | 2008-04-27 | 829
2009-03-18 | 1181 |  | 2008-04-27 | 851
2009-04-03 | 1147 |  | 2008-04-27 | 834
2009-04-11 | 1097
2009-04-16 | 1102
2009-04-25 | 1162 |  | Mean: | 832.1667 | μg/kg
2009-08-03 | 1138 |  | Std Dev: | 16.9873 | μg/kg
2009-08-28 | 1122
2009-11-27 | 1191
Mean: | 1150.1667 | μg/kg
Std Dev: | 31.0801 | μg/kg

## Uncertainty Calculation
Measurement uncertainty using the Nordtest approach
Acrylamide determination in crisp bread
Measurement result value: |  |  | 998 | μg/kg
uncertainty is estimated in relative quantities
Reproducibility, u(Rw)
From repeated analysis of one of the CRMs
u(Rw) = s_Rw =
u(Rw)_rel =
Bias, u(bias)
From measurements with 2 different CRMs
Ref value | U (k=2) | uc | Lab result | uc_rel | biasi | bias_rel
μg/kg | μg/kg | μg/kg | μg/kg | % | μg/kg | %
u(Cref)_rel=
RMSbias_rel=
u(bias)_rel =
Result:
uc_rel =
uc =
U_rel (k=2) =
U (k=2) =