## Sheet1
Meropenem determination in blood plasma by HPLC
Repeatability from pooled standard deviation
Meropenem concentrations in test samples (μg/g):
(every day different sample was used)
| Day 1 | Day 2 | Day 3 | Day 4
| Sample 1 | Sample 3 | Sample 2 | Sample 4
| 10.5996 | 13.1775 | 12.7616 | 10.645
| 11.5205 | 13.5236 | 11.983 | 11.034
| 10.8061 | 14.3569 | 11.7113
| 11.0125 |  | 11.9277
11.9156